{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["衛生施設"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"衛生施設","index":0,"n_rows":10,"n_cols":17,"rows_kept":10,"cut":false,"hidden":false,"merged":[[1,0,1,2],[2,16,4,16],[3,12,4,12],[3,13,3,14],[3,15,4,15],[2,7,4,7],[2,8,4,8],[2,9,4,9],[2,10,4,10],[2,11,4,11],[2,12,2,15],[2,6,4,6],[2,0,4,0],[2,1,3,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[6,0,8,0],[6,1,8,1],[6,2,8,2],[6,3,8,3],[6,4,8,4],[6,5,8,5],[7,13,7,14],[8,13,8,14],[6,6,8,6],[6,7,8,7],[6,8,8,8],[6,11,8,11],[6,12,8,12],[6,13,6,14]]}
[]
["〇清掃施設"]
["番号","供給場所",null,"供給電気方式","供給電圧\n計量電圧\n（標準電圧）","種別","契約電力等","単位","予定使用電力量\n（ｋＷｈ）","検針日","計量日","需給地点\n保安責任分界点\n財産分界点","契約単価(税込)",null,null,null,"備考"]
[null,null,null,null,null,null,null,null,null,null,null,null,"基本料金単価","電力量料金単価",null,"割引単価"]
[null,"施設名","所在地",null,null,null,null,null,null,null,null,null,null,"夏季\n(７～９月)","他季\n(夏季以外)"]
[1,"中部衛生センター","常磐藤原町滝沢37-1","交流3相3線式","6,000ﾎﾞﾙﾄ","高圧電力S","各月の契約電力は，その1月の最大需要電力と前11月の最大需要電力のうちいずれか大きい値とする。","ｋＷ",843628,"原則として毎月1日とする。","1日","発注者の構内引込第1柱に施設した区分開閉器の電源側接続点","  円  銭"," 円  銭"," 円  銭","   円"]
["2","中部衛生センター","常磐藤原町滝沢37-1","交流単相3線式","100ﾎﾞﾙﾄおよび\n200ﾎﾞﾙﾄ","従量電灯B","20アンペア","A",169,"原則として毎月1日とする。","1日","受注者の引込線と発注者の電気設備との接続点","  円  銭","最初の120kWhまで\n  円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"120kWhから300kWhまで\n  円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"300kWhを超える分\n  円 銭"]
["3","南部衛生センター","錦町須賀8-139","交流3相3線式","6,000ﾎﾞﾙﾄ","高圧電力S","各月の契約電力は，その1月の最大需要電力と前11月の最大需要電力のうちいずれか大きい値とする。","ｋＷ",693357,"原則として毎月1日とする。","1日","発注者の構内引込第1柱に施設した区分開閉器の電源側接続点","  円  銭","  円  銭","  円  銭","   円"]