{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["清掃施設"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"清掃施設","index":0,"n_rows":26,"n_cols":21,"rows_kept":26,"cut":false,"hidden":false,"merged":[[23,0,25,0],[21,17,21,18],[24,17,24,18],[22,17,22,18],[25,17,25,18],[23,5,25,5],[23,4,25,4],[23,3,25,3],[23,2,25,2],[23,1,25,1],[23,12,25,12],[23,11,25,11],[23,8,25,8],[23,7,25,7],[23,6,25,6],[16,12,18,12],[17,17,17,18],[18,17,18,18],[20,0,22,0],[20,1,22,1],[20,2,22,2],[20,3,22,3],[20,4,22,4],[20,5,22,5],[20,6,22,6],[20,7,22,7],[20,8,22,8],[20,11,22,11],[20,12,22,12],[16,5,18,5],[16,6,18,6],[16,7,18,7],[16,8,18,8],[16,11,18,11],[16,0,18,0],[16,1,18,1],[16,2,18,2],[16,3,18,3],[16,4,18,4],[6,12,8,12],[7,17,7,18],[8,17,8,18],[11,0,13,0],[11,1,13,1],[11,2,13,2],[11,3,13,3],[11,4,13,4],[11,5,13,5],[11,6,13,6],[11,7,13,7],[11,8,13,8],[11,11,13,11],[11,12,13,12],[12,17,12,18],[13,17,13,18],[6,5,8,5],[6,6,8,6],[6,7,8,7],[6,8,8,8],[6,11,8,11],[6,0,8,0],[6,1,8,1],[6,2,8,2],[6,3,8,3],[6,4,8,4],[2,6,4,6],[2,0,4,0],[2,1,3,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[16,17,16,18],[20,17,20,18],[23,17,23,18],[1,0,1,2],[2,20,4,20],[3,12,4,12],[3,13,3,18],[3,19,4,19],[6,17,6,18],[11,17,11,18],[2,7,4,7],[2,8,4,8],[2,9,4,9],[2,10,4,10],[2,11,4,11],[2,12,2,19]]}
[]
["〇清掃施設"]
["番号","供給場所",null,"供給電気方式","供給電圧\n計量電圧\n（標準電圧）","種別","契約電力等","単位","予定使用電力量\n（ｋＷｈ）","検針日","計量日","需給地点\n保安責任分界点\n財産分界点","契約単価(税込)",null,null,null,null,null,null,null,"備考"]
[null,null,null,null,null,null,null,null,null,null,null,null,"基本料金単価","電力量料金単価",null,null,null,null,null,"割引単価"]
[null,"施設名","所在地",null,null,null,null,null,null,null,null,null,null,"ﾋﾟｰｸ","夏季昼間\n(７～９月)","他季昼間\n(夏季以外)","夜間","夏季\n(７～９月)","他季\n(夏季以外)"]
[1,"北部清掃センター","平上片寄字大平23","交流3相3線式","6,000ﾎﾞﾙﾄ","高圧季節別時間帯別電力","800キロワット","ｋＷ",2965611,"原則として毎月1日とする。","1日","発注者の構内引込第1柱に施設した区分開閉器の電源側接続点","円　銭","　円　銭","　円　銭","　円　銭","　円　銭",null,null,"　　　円"]
["2","北部清掃センター","平上片寄字大平23","交流単相3線式","100ﾎﾞﾙﾄおよび\n200ﾎﾞﾙﾄ","従量電灯B","20アンペア","A",41,"原則として毎月1日とする。","1日","受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
["3","北部清掃センター","平上片寄字大平23","交流3相3線式","200ﾎﾞﾙﾄ","低圧電力","25キロワット","ｋＷ",11230,"原則として毎月1日とする。","1日","受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null," 円  銭","円  銭"]
["4","クリンピーの丘(山田粗大ごみ処理施設)","山田町家ノ前31","交流3相3線式","6,000ﾎﾞﾙﾄ","高圧電力S","各月の契約電力は，その1月の最大需要電力と前11月の最大需要電力のうちいずれか大きい値とする。","ｋＷ",88079,"原則として毎月1日とする。","1日","発注者の構内引込第1柱に施設した区分開閉器の電源側接続点","円　銭",null,null,null,null," 円  銭","円  銭","　　　円"]
["5","クリンピーの丘","山田町家ノ前31","交流単相2線式","100ﾎﾞﾙﾄ","従量電灯B","10アンペア","A",90,"原則として毎月1日とする。","1日","受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
["6","クリンピーの丘","山田町家ノ前31","交流3相3線式","200ﾎﾞﾙﾄ","低圧電力","3キロワット","ｋＷ",36,"原則として毎月1日とする。","1日","受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null," 円  銭","円  銭"]
["7","クリンピーの森(クリンピーの家)","渡辺町中釜戸大石沢24-1","交流3相3線式","6,000ﾎﾞﾙﾄ","高圧電力S","各月の契約電力は，その1月の最大需要電力と前11月の最大需要電力のうちいずれか大きい値とする。","ｋＷ",539079,null,null,"発注者の構内引込第1柱に施設した区分開閉器の電源側接続点","円　銭",null,null,null,null," 円  銭","円  銭","　　　円"]
["8","クリンピーの森(クリンピーの家)","渡辺町中釜戸大石沢24-1","交流単相2線式","100ﾎﾞﾙﾄ","従量電灯B","20アンペア","A",449,null,null,"受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
["9","クリンピーの森(クリンピーの家)","渡辺町中釜戸大石沢24-1","交流3相3線式","200ﾎﾞﾙﾄ","低圧電力","7キロワット","ｋＷ",7051,null,null,"受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null," 円  銭","円  銭"]
["10","クリンピーの森","渡辺町中釜戸大石沢24-1","交流単相3線式","100ﾎﾞﾙﾄおよび\n200ﾎﾞﾙﾄ","従量電灯C","13キロボルトアンペア","kVA",5866,null,null,"受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
["11","クリンピーの森","渡辺町中釜戸大石沢24-1","交流単相3線式","100ﾎﾞﾙﾄおよび\n200ﾎﾞﾙﾄ","従量電灯B","60アンペア","A",2979,"毎月受注者があらかじめ発注者にお知らせした日とする。","-","受注者の引込線と発注者の電気設備との接続点","円　銭",null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"円  銭"]